To:

Projects Delivery Division / Power Projects Dept. / Civil

Please approve the civil details / design of Substation / Transformer Rooms as per details below: Approved Supply Arrangement Ref. No. ………………………… 2. Request Date: ………………….. Owner Name : ………………………………………………………………………………………………. Project Name : ………………………………………………………………………………………………. Contact Tel. No. …………………………… 6. Fax No. …………………………… Total Connected Load : ……..………KW 8. S/S No. .……………… 9. Capacity ………………KVA 10. S/S Type: □T-1 □T-2 □T-3 □T-4 □Other. 11. Location: □Inside Owner Plot □Outside Owner Plot □In the Basement (See Note-7) 12. TRM No. 13. Transformers Rating: □1500 KVA □1000 KVA □500 KVA □200 KVA Other Comments: Required Documents: Note: The following documents are obligatory to be submitted along with this request. Without the following documents this application will not be accepted. □ Copy of Approved Supply Arrangement Request □ Copy of TPD approved site plan with location of S/S clearly marked □ 3 sets of S/S Drawings / Details with signed / stamped □ Annexure – 1: Filled with all details and signed / stamped

| Contractor Sign & Stamp | Consultant Sign & Stamp |
| --- | --- |

Important Notes:

- This is only “Provisional Approval” provided to facilitate the Customer to proceed with the construction of substation as per details approved by AADC. The Customer should observe the above notes(if any) indicated by AADC and arrange with the Projects Delivery Division Civil Engineer to ensure that the notes are carried out properly. Customer will be required to arrange inspections of the Substation / Transformer room by AADC Civil Engineer during construction and get “Final Approval” before equipment installation.

- This approval is only for 11 kV substation. For L.V network, Customer should contact CSD for getting L.V room approval.

- No alterations to S/S Civil design, what so ever, should be introduced without prior consent of AADC. In case of any alterations in the design, this approval would be treated as Cancelled and Customer should get Re-Approval from AADC.

- In case of any Special S/S type (other than AADC standard Type 1 to 4) proposed by Owner then complete details should be provided for review and approval.

- In case of S/S location Outside Owner’s Plot, the Owner shall follow the AADC design for construction of Substation.

- Customer shall Type all the details on this form. Hand writing is not accepted.( time new roman, point 10)

- S/S Type: 	T-1: S/S with TRM & 1 No. Transformer, 		T-2: S/S with QRM & 2 Nos. Transformers

T-3: S/S with HV Panel & 2 Nos. Transformers 	T-4: S/S with HV Panel & 3 Nos. Transformers

Others: For any other / special type, Customer shall provide full details

# Text boxes

**The customer confirm that the substation will be ready for installation at least 4 months before the main building is completed