To:

Projects Delivery Division / Power Projects Dept. / Civil

Please apply the inspection for the Substation / Transformer Rooms for the below mentioned details: Approved Supply Arrangement Ref. No. ………………………… 2. Request Date: ………………….. Owner Name : ………………………………………………………………………………………………. Project Name : ………………………………………………………………………………………………. Contact Tel. No. …………………………… 6. S/S Type: □T-1 □T-2 □T-3 □T-4 □Other. 11. Location: □Inside Owner Plot □Outside Owner Plot □In the Basement (See Note-6) 7. TRM No. 13. Transformers Rating: □1500 KVA □1000 KVA □500 KVA □200 KVA 8. Other Comments: 9. Required Documents: Note: The following documents are obligatory to be submitted along with this request: □ Copy of TPD approved site plan with location of S/S clearly marked □ Approved form and drawings by AADC

| Contractor Sign & Stamp | Consultant Sign & Stamp |
| --- | --- |

Important Notes:

- This approval is only for 11 kV substation. For L.V network, Customer should contact CSD for getting L.V room approval.

- No alterations to S/S Civil design, what so ever, should be introduced without prior consent of AADC. In case of any alterations in the design, this approval would be treated as Cancelled and Customer should get Re-Approval from AADC.

- In case of S/S location Outside Owner’s Plot, the Owner shall follow the AADC design for construction of Substation.

- Customer shall Type all the details on this form.

- The customer has to get approval from AADC in case the location is change in construction stage.

- S/S Type: 	T-1: S/S with TRM & 1 No. Transformer, 		T-2: S/S with QRM & 2 Nos. Transformers

T-3: S/S with HV Panel & 2 Nos. Transformers 	T-4: S/S with HV Panel & 3 Nos. Transformers

Others: For any other / special type, Customer shall provide full details

# Text boxes

**We strongly undertake that we shall officially report to AADC (4) months before the need of the power supply.